## Slide 1
CoGDEM
Jonathan Kane
EU Parliament CO Round Table
3rd February 2015

## Slide 2
CoGDEM
Council of Gas Detection & Environmental Monitoring
Started 1974 – Now > 60 member companies
UK & EU Gas Detection Mfrs & Service providers British Standards (BSI) + Health & Safety Lab are guests
Protect everything from small bedsit, caravan, boat or tent to large offshore oil & gas platform or refinery
Key Role Developing EU & ISO Standards
CO UK helpline: 0800 1694 457

## Slide 3
How can EU STOP CO threat?
Threat - CO incidents, poisoning & death from Fossil Fuel Appliance
Solution – Support Govt, Industry & Charity coordination to:
  Develop “Best Practice” to stop incidents
  Collect & analyse CO incident data
  Raise CO consumer awareness

## Slide 4
Can Gas Industry offer solution?
YES
Over 470M Gas Appliances – Growing 6% / Yr
Gas Appliance “Best Practice” can transfer to all Fossil Fuel Appliances
Raising CO awareness requires focus on all Fossil Fuel Appliances

## Slide 5
Gas Appliance Regulation - GAR
Industry thanks EU Commission for creating template for coordinated approach
Recitals 14 - 17 supply detail for this template
Proposed Amendments will reduce CO poisoning & increase consumer safety

## Slide 6
GAR Proposed Amendments
Proposed by Industrial Market & Consumer Protection Committee (IMCO) Rapporteur:
Recital 14 emphasises Health Protection
Recital 15 introduces installer training, certification & highlights CO
Recital 17 strengthens CO awareness campaign

## Slide 7
GAR Proposed Amendments
Essential Requirement (ER) 1.6.1 Mfrs must explain how to stop CO incidents at & after appliance commission
ERs 3.2.4, 3.4.4 & 3.6.3 reinforces CO message
Article 4 supports Recital 18 requiring Member States to notify Gas Properties – will improve safe appliance operation

## Slide 8
Industry Actions
2012 – Updated EN 50379, “ .. portable electrical apparatus .. to measure combustion flue gas .. of heating appliances” – What to buy
2013 - CLC/TS 50612 “Portable electrical apparatus .. - Guide to their use .. commissioning, servicing & maintaining gas fired central heating boilers” – How to use

## Slide 9
Industry Actions
CLC/TS 50612 – Expand to all Gas Appliances
Technical Report Safety of domestic gas installations – Recommendations by Sector Forum Gas (SFG) – awaiting draft publication
Support SFG TR next phase – Identify member State “Best Practice” & publish Minimum Requirements

## Slide 10
Industry Wish List
Minimum EU Training & Accreditation Standard for Techs working on all Fossil Fuel Appliances
Member States “Competent” Techs Database requiring regular competency testing
Coordinated “User” CO awareness campaign
Increase usage & requirement for CO alarms compliant to EN50291

## Slide 11
CoGDEM
Thank You
Jonathan Kane
Jonathan.kane@kane.co.uk
www.cogdem.org